## Master List Templates
Id | Type | Name | Values | Prompting Name
5cbd1846-522d-4e8d-9c78-f69d28bafd41/10 | checklist | A.WALL - Assembly - Wall |  | A.WALL - GF
641cf0ec-db5d-47c2-b9fb-2ca495f446a6 | section | Pre-Check
25ce811f-3867-4e1d-bee1-556c433b427b | checkpoint-no-value | Pre-check
f90be6f5-e676-4e93-a8e6-beac3e8425a3 | button | "For Construction" shop drawings available and current | Yes,No
c6bfd34b-ca87-4d36-a2a6-1b8f8acf47ca | button | Structural Drawings available and current | Yes,No
380a68d5-8303-4176-9b93-09afa44e00d3 | button | Sole plate Installation complete and signed off | Yes,No
850d4136-97fa-4f85-895c-6b1598eec141 | button | Propping plan available | Yes,No
020dcbf0-d6c7-4905-927e-917c5924f0c7 | button | Task Analysis (TA) in place | Yes,No
3c8b5176-695d-532b-aef3-6ea46eb1dcb7 | section | Structure
f1569eff-8043-4c5a-9f25-f70f53f59d02 | checkpoint-no-value | Installation Structure
db0ea17a-3059-5afd-acea-19000de8648d | button | Walls plumb, straight, level | Yes,No
86fd191a-7da6-55d9-9311-4bb2a72bd805 | button | Fixed to sole plate as per HENZ detail | Yes,No
01f183db-03db-5652-9e65-b656410dfa0d | button | Fixed at corners as per HENZ detail | Yes,No
f3f079a1-26bc-5468-a776-439e6f34805b | button | Fixed to adjacent walls as per HENZ detail | Yes,No
5f6df5dc-6a86-5217-86ac-00b9f77bc302 | button | Fixed to other panels/ members / exisiting members as per HENZ detail | Yes,No
5013c787-c0ce-48d6-b597-1531e5fae1a9 | button | Installation and panels repaired and fixed to meet specification | Yes,No
1bb120bf-0e82-4be0-b4ef-762d7df1d5f8 | button | Take photos of special structural fixings | Yes,No
4924564d-c531-5cb9-8676-2f92249f153d | section | Passive Fire, Acoustic
26ee6cd1-4d54-443f-95e3-0e9f8b9b9719 | checkpoint-no-value | Passive Fire
1a3ea99f-4072-50b6-8a1e-d15c4e590c8a | button | Fire installations as per HENZ details | Yes,No,Not Applicable
ba74b3da-0156-5518-b89b-6e503c7a5213 | checkpoint-no-value | Take photos of fire installations (concealed installations, seals etc.)
ca679cdd-ef4a-5c31-8a76-1ebe18c54732 | button | Passive Fire is contineous (Red Pen Method) | Yes,No (raise with HENZ Project Manager),Not Applicable
76ba523f-2a47-4263-8a24-19e602e54c66 | note | Take photos of fire installations (concealed installations, seals on joints etc.)
5e9401e4-a202-4ce3-ab71-c63adc0cfbc1 | checkpoint-no-value | Acoustic
e7c2f0e0-6cdd-54ca-85ca-63ba8534de7e | button | Sound insulation as per HENZ details | Yes,No,Not Applicable
f4d30405-c2b2-4232-b447-37bed8918781 | note | Take photos of acoustic installations (concealed installations, seals etc.)
514050e9-f2c8-527c-bdf0-ffdc508d4cd4 | section | Thermal, Airtightness, Weather
bc88343f-fb0a-4549-b95c-9ab1e611233e | checkpoint-no-value | Thermal
04f0ba45-3eba-5726-a375-72da24c5d840 | button | Insulation as per HENZ details | Yes,No,Not Applicable
243b1a44-cea2-5524-90c0-ae4d45363aef | button | Thermal is contineous (Red Pen Method) | Yes,No (raise with HENZ Project Manager),Not Applicable
57110581-25f0-4e8d-babd-ff7e1dc15895 | note | Take photos of thermal installations (concealed installations, at steel portals etc.)
3c3cb96f-e83e-46f4-a0d0-860dcc4fcac1 | checkpoint-no-value | Airtightness
34ab62ec-e630-4a82-98ca-455759560fd3 | button | Airtightness as per HENZ details - Kompri Band / Tapes / Other | Yes,No,Not Applicable
d8eedec5-d3f2-467a-983b-2e462e125442 | button | Airtightness is contineous (Red Pen Method) | Yes,No (raise with HENZ Project Manager),Not Applicable
5d1475f3-9d3a-4ee6-bb56-d8a74f65b200 | note | Take photos of acoustic installations (concealed installations, at steel portals etc.)
6ab24ff7-d759-5f42-b97a-787ed0db1fec | checkpoint-no-value | Weather and Watertightness
bc66092a-c5cd-5b55-a7da-c408d71d0e20 | button | Weather and watertightness as per HENZ details | Yes,No,Not Applicable
8a48c105-a8a9-4ad3-aa79-93bf9b4197de | note | Take photos of temporary covers if applicable
c528cf91-ffa7-57b7-841e-06f762ac5537 | section | Services
a45d594e-7c0a-5ab6-9da0-5344940f4d8d | checkpoint-no-value | Services
09359681-e274-5665-8e27-b8f54a303320 | button | Service interfaces linked / coupled / conduits etc. accessible and repaired | Yes,No,Not Applicable
bfe49e01-fcc2-538f-b094-85b366954942 | section | Final Check
50e351f6-77c1-4112-93ed-ead077e83c83 | checkpoint-no-value | Final check
22fa95b7-b0ff-4f18-9733-762b3dd673b3 | button | Clean away debris | Yes,No
23f42c37-9fb2-4edd-a50b-6458b18e3c96 | button | Cover walls to protect from water if necessary | Yes,No
b2efc739-5f74-4041-9514-7b55b39503f3 | checkpoint-no-value | Take photos of covers and damages
d8f5fb7b-6c3f-4e40-8399-97a207a1047a | checkpoint | Final Installer Signoff
e5209309-74c0-4e4e-8627-b97088ed7de8 | signoff:required | INSTALLER SIGN HERE OR REQUEST SIGNOFF
c95428e5-6f33-5ff0-b7b3-f0a32cb592a8 | section | Final Sign Off
bfb9e1e0-df9d-4f4d-9565-23571c78d43c | checkpoint | Site Manager Signoff
67e8f4bd-3ea3-4b9b-a8a7-430e93669734 | signoff:required | SIGN HERE OR REQUEST SIGNOFF